NEW   VELOPEX  MD  3000                      
Advanced Processor for NDT  X Ray Processing  

Specification 

         Fully automatic processor with built in drier.
· Processing from 90 seconds to 6 minutes or 3 minutes to 8 minutes depending on application
· Variable temperature from 24 c to 36 c . Independently settable for developer and fixer. (heated wash water)  

· Processes all sizes of film from 4 x 6 cms to 35 x 43 cms (no adaptors or leaders needed)

· Self-cleaning cycle –maintains optimum quality / less operator work 

· Returns chemicals automatically  to containers overnight , or during holidays to reduce oxidation and extend life of chemicals . (also ideal for mobile off site use –in trucks or temporary locations )
· Auto Start

· Auto replenishment of chemicals

· Stand alone or can be connected to water supply 

· Electronic display with simple programmable control panel

·  Unique web transport system for film –proven for many years  

· Machine dimensions approx 63cms (L) x 57cm (W) X 32 cms (H) 
· Optional Daylight Loader ( 38cms long) can be attached
· Optional stand for processor 

